## Slide 1
SUPERBOOST.CO
The Skin

## Slide 2
The skin is our most external organ.
It provides the communication between our inner system and the outside world. Visible changes on our skin testify to the imbalance in our body or environmental aggressions such as excessive sun exposure or severe temperature fluctuations.
Vertical cross-section of the skin, with the epidermis and protruding hairs at the top, the dermis with blood vessels and fibers in the middle, and fat cells in separate parcels at the bottom.
Dermis
Epidermis
Subcutaneous connective tissue
Hair
Nerve
Adipose tissue
Hair follicle
Sweat gland
Sweat pore

## Slide 3
It weighs 15% of our total body weight. The total skin of an adult person is almost 2 m². It consists of three layers with different thicknesses:
The epidermis is 0.1 mm thick and the thinnest layer.
The dermis is 1 mm thick.
The hypodermis is the thickest layer, it is 10mm thick.
The skin has a protective function. It protects us from external influences.
Properties of the skin:
Protects us from external influences.
Largest organ (15% of our weight).
Surface area of almost 2 m².
3 layers with average thicknesses of: epidermis 0.1 mm, dermis 1 mm and the hypodermis 10mm.
The skin consists of three layers which are further subdivided into different layers.
The epidermis or epidermis consists of 4 layers.
The dermis or dermis consists of 2 layers.
  The hypodermis or subcutaneous fat layer.
The skin is the largest organ of our body

## Slide 4
The dermis consists of two layers. The superficial papillary layer, with its many crests and valleys, forms an intimate and extensive contact surface with the epidermis. That layer contains fewer collagen fibers and more connective tissue cells or fibroblasts.
It is mainly characterized by the fine capillary loops of blood vessels feeding the epidermis. The deeper reticular layer consists of a compact network of thick collagen fibers, which gives the dermis its firmness.
Both layers are bathed in a supple, watery gel matrix of hyaluronan (or hyaluronic acid) that holds it all together. Fine elastin fibers bind the collagen fibers together and provide additional resilience.
Nerves make their way through the hypodermis to the dermis, forming a network of sensors that send signals to the central nervous system. Blood vessels also penetrate from the depths to provide oxygen, nutrition and information to the skin.
Fibroblasts:
These cells are central production units, they produce the three main components of the dermis: collagen, elastin and hyaluronan. These determine the thickness, firmness and elasticity of the skin.
Over the years, the activity of fibroblasts decreases, but stimulating them allows the dermis to renew itself, an important step in anti-aging.
Collagen fibers:
Collagen makes up 70 percent of our connective tissue. The thick, firm fibers provide the strength of the dermis. The whole thing is embedded in a gel matrix of hyaluronic acid.

## Slide 5
Elelastin fibers:
Elastin can stretch and shrink like a rubber band, hence the name.
Elastin fibers make up only two percent of our connective tissue. They bind to both collagen fibers and hyaluronan.
Hyaluronan or hyaluronic acid:
The fibers and cells in the dermis are embedded in a gel matrix, a jelly-like substance that gives volume to the dermis. The gels, also called glycosaminoglycans (GAG), consist mainly of hyaluronan.
Hyaluronan can bind an awful lot of water to itself, taking on many times its volume.
The dermis is therefore the water reservoir of the skin. Hyaluronan binds with collagen and elastin and fills the space between the fibers.
The tight bond between the three components of the dermis provides the skin's volume, firmness and elasticity.
Thin, saggy and non-stretchable skin is a sign of advanced skin aging.
Fibroblast
Collagen
Elastine
Hyaluronan
4 types of wrinkles
  Dull skin due to irregular microstructure.
  Expression wrinkles at rest due to cramped facial muscles.
  Sagging skin due to thin dermis with loss of firmness and elasticity.
  Deep furrows due to malformation of collagen and elastin in the dermis.
Each type of wrinkle has its origin and specific treatment.
Its depth is of secondary importance and only determines the intensity of the treatment.

## Slide 6
SUPERBOOST.CO
Acne scars

## Slide 7
Acne has several possible causes:
Clogged pores
Overproduction of sebum
Inflammation caused by P. acnes
Use of products with high ph levels
Stress
Increased levels of androgens
Disturbed skin microbiome
Hereditary
Medication such as testosterone
Hormones (often around chin and jawline)
Often it's a combination.
When pores become clogged, sebum cannot leave the sebaceous glands and accumulates.
Germs that are barely detectable under normal circumstances start to proliferate in the sebaceous glands and pores. This leads to inflammation.
The germ responsible is called Propionibacterium acnes, or P. acnes for short.
Extra tips:
  Take Zincotabs every morning. Available at pharmacies.
  Avoid: wheat, lactose, preservatives, refined sugars, spicy foods, sugars and citrus fruits.
  Use only mineral makeup (for example, EMITE makeup).
  Touch the face as little as possible with the hands, due to bacteria.
  Disinfect the cell phone as often as possible because of bacteria.
  Use appropriate care at home.
  Avoid excessive UV exposure due to scarring.
  Drink at least 2 liters of water per day.

## Slide 8
Acne scars

## Slide 9
There are 3 forms of acne scars: atrophic scars , hypertrophic scars and keloidal scars. In atrophic scars there is a decrease in collagen and in hypertrophic scars and keloids there is an increase in collagen. Almost 80% of people with acne scars have mainly atrophic scars: thus, the minority ( about 10-20%) have hypertrophic scars and keloids.
Icepick scars. These are point-shaped and deeper scars or pits in the skin. In these, the opening is wider than the deeper point, creating a V shape (ice pick = icicle). These types of scars are difficult to treat. Advice: send the client to a dermatologist for possibly a shot of TCA peeling.
Boxcar. These are round or oval scars with sharp vertical edges. These scars are wider on the surface compared to ice pick scars, and often form a U shape with a wide base. Boxcar scars can be superficial or deep.
Rolling scars. Typically band-shaped deep or superficial indentations in the skin that are often wider than 4 to 5 mm. They often have an M shape.
Icepick and Rolling scars
Box scars and rolling scars
Box scars

## Slide 10
SUPERBOOST.CO
Preparation File and questionnaire

## Slide 11
Every consultation is a subjective event that must culminate in an objective plan. There is unfortunately no REALITY because both client and practitioner have their own vision of what they collectively see. A mirror and eventually a good photograph should document the actual condition. Both come to a consensus on the deviation and the degree of possible correction.
ATTENTION! The client's perception does not correspond to that of the practitioner. For example, most clients believe that a light pigment spot is more easily removed than a dark one, whereas we know that a dark spot absorbs the energy of the pigment laser better. Thus, raised dermal naevi are easily removed by flatter ones, that their bottom always remains visible as a different skin texture, that pigment from depth sometimes rears its head months later, etc. All elements that the client does not realize, unless after correct information.
Misunderstandings are about the result, number of sessions, difficulty, risks, etc.
Classics include rosacea on a dark sun type, hair removal of thin and light hairs, open pores, severe forms of acne, pigmentation on a dark sun type, stretch marks, downturned corners of the mouth, curling of the upper lip, horizontal lines on the forehead, etc.
A clear explanation is required.
A clear explanation is required.

## Slide 12
The current state of the skin is captured on images. The skin analysis also provides images. The abnormalities and skin type are now part of the record.
The client must be able to judge what improvement is desired. The practitioner must be able to see and objectify this to arrive at a DIAGNOSE. This is checked against the EXPECTATIONS of the client and the practitioner.
Ultimately, a TREATMENT PLAN emerges from this consultation that both parties must have a good understanding and acceptance of. The DIAGNOSE, EXPECTATIONS, TREATMENT PLAN and the PRE- and POST - LIST of each treatment are reviewed on paper.

## Slide 13
Aftercare and Evaluation Following the Treatment
During the treatment, all relevant parameters are carefully recorded in the client file, and the skin reaction is continuously monitored. After the session, the client receives clear guidelines for post-treatment care:
  Avoid scrubbing, peeling, or waxing the treated skin for 5 days.
  Do not perform any superficial (ablative) treatments during this period.
  Do not use strong vitamin A creams or strong acids for 5 days.
  Protect the skin daily with a sunscreen of SPF 30 or SPF 50.
  Apply an appropriate serum and a suitable day cream in the morning and evening, tailored to the skin type and the treatment.
An evaluation moment (via email or consultation) is strongly recommended. This allows for discussing the skin’s progress, collecting feedback, and planning the follow-up treatment. In this way, misunderstandings can be avoided and both client and practitioner can work together toward optimal results.
Objective Follow-Up and Realistic Expectations
Sometimes clients find it difficult to correctly assess the results of a treatment, especially when the skin concern cannot be clearly visualized. In such cases, appearance is often unconsciously linked to mood or personal circumstances, which themselves do not change after a treatment.
Therefore, it is valuable to review before-and-after photos together and clearly define the desired results, such as refining the pore structure. This makes it possible to evaluate the outcome objectively and—if necessary—make targeted adjustments to the treatment plan.

## Slide 14
Medical record

## Slide 15
Dear Customer,
We ask you for a limited amount of personal and medical information. These are essential for us in order to treat you correctly and qualitatively. Correct and complete answers are therefore very important. We count on your honesty.
You must also report any changes at the beginning of each consultation.
PLEASE FILL IN IN PRINT
NAME (family name):___________________________________________
FIRSTNAME:_________________________________________________
GIRL: M________ V_______
DATE OF BIRTH:_________/_________/_________
STREET + HOUSE NUMBER:_________________________________________
POSTAL CODE + CITY:________________________________________
LAND:_______________________________________________________
MOBILE TEL.NR:________________________________________________
EMAIL:______________________________________________________

## Slide 16
PLEASE CIRCLE WHAT APPLIES:
Are you currently receiving treatment for a condition? YES/NO
If so, which:__________________________________________________
Are you pregnant? YES/NO
Do you have (had) any thyroid problems? YES/NO
Do you have (had) an infectious disease or autoimmune disorder? YES/NO
Do you have (had) HIV, TB, Hepatitis or any other infectious disease?
YES/NO
Do you have implants, a pacemaker or other lichaamsvreemde voorwerpen?
YES/NO
If so, which:__________________________________________________
Have you had an aesthetic treatment in the past? YES/NO
If so, which:__________________________________________________
Have you had allergies to any medications, care products or substances YES/NO
If so, which:__________________________________________________
Do you use medication? YES/NO
If so, which:__________________________________________________
Do you drink alcohol regularly? YES/NO
Have you taken any prescribed drugs in the last 6 months? YES/NO

## Slide 17
Other things you wish to report?
__________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________
Date of today:_____________/____________/_________________
Signature for approval:______________________________________

## Slide 18
Assessment of the face according to five criteria

## Slide 19
  Is there sufficient volume in the face?
  Is the face sufficiently relaxed?
  How even is the skin tone?
  Is the skin relief regular?
  How is the skin tension?
Relaxed face
Full face
Even skin structure
Even skin tone
Tight skin
Skin Analysis Advice

## Slide 20
Photo Documentation Before and After the Treatment
To accurately assess the results of the treatment, it is essential to always take photos before and after the procedure. This ensures objective comparison and helps both the practitioner and the client to follow the skin’s progress accurately.
  Ask the client to relax their face and take a photo with the eyes open and another with the eyes closed.
  Make sure the entire face is clearly visible.
  Always use the same lighting for both photos:
    With or without a magnifying lamp — but be consistent.
    Daylight is ideal when available.
  The BEFORE and AFTER photo must always be taken in the same position: lying down or standing.
  Take a screenshot of the best BEFORE photo with eyes open and eyes closed, and take a screenshot of the best AFTER photo with eyes open and eyes closed. Place the BEFORE and AFTER photos side by side and review the results with the client. Zoom in on different areas.

## Slide 21
SUPERBOOST.CO
Contraindications

## Slide 22
  Pacemaker
  Built-in pain killer
  Hearing aid (not built-in? then take it off)
  Pregnant (or trying to get pregnant)
  Client under treatment by oncologist (ask permission from treating physician first
  Chemotherapy
  Burns/injuries
  Severe allergies or sensitivity
  Taking strong medication (e.g.: roacutane)
  Lenses? Then preferably take them off before treatment
  Epilepsy (ask your doctor)
  Botox - only SuperBoost after 3 weeks
  Fillers - only Superboost after 3 weeks
  Migraine - can cause an attack
  When in doubt: contact Anubis Care
Contraindications

## Slide 23
SUPERBOOST.CO
No-needle infusion: infiltration without needles

## Slide 24
For direct infiltration of larger molecules, we classically use a needle and syringe, otherwise we cannot get through the epidermis and basal membrane. Needles have become ever finer, already reduced to a thickness of 0.3 millimeters.
Electronically controlled guns make injections ever more precise. Still, an injection is and remains a minuscule form of aggression.
There are also techniques for penetrating the skin without needles.
Thin jets squirt substances at high pressure through the epidermis, into the dermis. However, these also cause damage to the epidermis and basal membrane.
Recently, a new way to gently get liquids containing active ingredients past the skin barrier has been developed. We use skin openings as access to deep channels.
The fine tubes in which sweat and sebaceous glands exit penetrate deep into the dermis. The epidermal layer and basal membrane lining the walls of those ducts allow far more substances to pass through than the epidermis at the surface of the skin, while their surface area is six times larger than that of the epidermis. Thus, those skin channels form a kind of shortcut.
Through the pores, drugs and skin rejuvenating substances can penetrate deep into the skin. This route is ideal for treating acne, in addition to addressing skin aging and pigmentation.
The epidermis is a clever boundary zone rather than a solid barrier.
It allows slow water evaporation from the depths, right through the basal membrane and through the stratum corneum.
With their specialized cells, sweat ducts, sebaceous glands and hair follicles reach the outside world.
The epidermis acts as a gatekeeper: active ingredients from cosmetics must pass through it before they can reach the dermis and the bloodstream.

## Slide 25
Beam SuperBoost Micro Jet-Stream: 40 micron µ
Size of pores / skin adnexes: 70 - 100 micron µ
Smallest needle on the market: 300 microns µ
The Meso-Infusion device locks active ingredients with a very low molecular weight into the depths of the skin while simultaneously removing dirt from the depths of the skin.

## Slide 26
  A medical SuperBoost cocktail, tailored to the needs of the skin, is painlessly delivered into the dermis.
  A light peeling with the tip removes the upper skin layers (dead skin cells), which can sometimes be as much as 20 to 25 layers thick.
  In addition, a deep cleansing ensures that dirt and impurities are removed from the pores.
  What makes this painless treatment special is that in the first part of the procedure we deliver medical cocktails into the deeper layers of the skin using a special infusion technique. This is truly unique!
  Explanation:
  The pores in our skin are on average 70 to 100 microns (μ) in size. (1 micron or μ = one-thousandth of a millimeter.)
  The thinnest needle used in a pharmacy or by a doctor is usually 300 microns thick.
  The remarkable aspect of this technique is that the jet of the SuperBoost no-needle system is only 40 microns thick. This allows the jet to pass effortlessly through the pores into the deeper layers of the skin (the dermis) and bypass the natural skin barriers — completely without pain or damage.
3 - steps

## Slide 27
SUPERBOOST.CO
Operation SuperBoost
MOREMI - MORESOCIAL.BE

## Slide 28
A healthy human body functions by continuous exchange of information between the peripheral cells and the central nervous system. Specialized nerve pathways transport these up and down biological streams of information between the peripheral and central nervous systems, keeping our system vital and balanced. We call this mechanism Biofeedback and it is the engine of life.
Unfortunately, the Biofeedback pathways disintegrate over the years, weakening the vitality of the cells and organs. From 25 Years.
Especially the skin, facial muscles, hair follicles, sexual organs and the sensitivity of the fingertips see their biofeedback decline.
Life-sustaining cells and organs, on the other hand, retain their vitality into old age.
We have so far tried to achieve rejuvenation by local stimulation of the peripheral organs themselves, mainly by applying mild aggressions in the form of heat and punctures.
Through the subsequent healing process in these tissues, we sought to induce new life.
Basically an indirect way of biofeedback.
The new Biofeedback stimulation method is more natural and less invasive.
In a first step, through infiltration of liquid solutions into the pores or openings on the skin surface, we are going to reach the depths of the skin. We call this "no-needle follicular infusion."
The technique relies on an ultra-fine jet that arrives from the infusion device, directly into the hair follicles, sebaceous glands and sweat ducts.

## Slide 29
From there, this solution diffuses into the deeper layers of the skin where it can exert its action. This electrically conductive solution goes about improving the skin in a non-invasive way. At the same time, it conducts refined electrical micro-currents through the skin to the nervous system.
With an adhesive electrode on the nerve branches on the spine on the one hand, and a stimulating Bioref pen on the peripheral on the other, the Bio feedback loop is closed. The stimulation of the Biofeedback pathways can begin.
The result is to restore the natural information circuits between the peripheral organs and the central nervous system. Thus, hair growth is restored by vitalizing the dormant hair follicles.
  The muscles rejuvenate and relax after each contraction, fading expression wrinkles.
  The tone of the muscles increases and the face regains its original youthful shape.
  The eyelids pull open again, the v-shape of the face recovers, the corners of the mouth curl up again and the neck tightens.
  Muscle volume also increases.
  More cheek volume, a thicker forehead muscle or fuller lip muscle are the signs of recovering muscle volume.
  The skin also regains its balance.
  Fewer wrinkles, thicker dermis and even skin tone are just some of the benefits of follicular infiltration and Biofeedback.

## Slide 30
After all, the skin is also intimately connected to the nervous system and owes its vitality to a properly functioning Biofeedback. Known Biofeedback mechanisms that we learn are, for example, cycling or writing. It takes a while to learn them, but once acquired they remain acquired. So too with Biofeedback stimulation. It takes an average of 4 sessions to get the nerve pathways going. Often without any visible effect.
It is important to be patient during this period. But once the pathways are vital, the results cannot be disputed. A maintenance 2 to 3 times a year is sufficient to keep the Biofeedback loop healthy.
Superboost gives your client the softness of cosmetic care with the impact of medical treatment. The possibilities are many and varied, this treatment can be used for many things:
  Skin rejuvenation
  Reduction of (fine) wrinkles
  Eye and eyebrow lift
  Irregular skin
  Large pores
  Acne
  Improvement of skin texture and evenness

## Slide 31
The Superboost sluices the active ingredients through the skin adnexes to reach the deeper layers of the epidermis and dermis via this route. The hair-fine openings at the end of the disposable tips enable this infiltration and are the result of its unique design.
The device makes it possible to penetrate the skin by using the hair follicles as conductors. In this way, active substances are quickly and painlessly infiltrated into the skin, resulting in:
  An activation of facial muscles that have become lazy and sag due to aging: sustainable aging.
  A solution for skin aging, fine wrinkles, eye and eyebrow lifting, uneven skin, coarse pores, acne, skin tension and much more.
  Very result oriented with a beautiful natural effect.
  Now also offering hair-supporting treatments.
" It sluices the active ingredients through the skin adnexes to reach the deeper layers of the epidermis and dermis via this route. The hair-fine openings at the end of the disposable tip enable this infiltration and are the result of its unique design."
The pores form ideal entry ports for active ingredients. The active ingredients reach the deeper dermis through natural "tubes" over an area up to 6 times larger than that of the epidermis. From there, these active ingredients can easily regenerate the lower layers. With the SuperBoost method, the preparations penetrate into the deepest zones (where in the past we could only reach with a needle 300 microns thick, and with which we can now reach much less aggressively without a needle and through the pores of about 70 to 100 microns thick).
This SuperBoost gives you the softness of a cosmetic treatment (painless) with the impact of a medical treatment. The possibilities are varied and very extensive: from a quick skin boost to solutions for skin aging, fine wrinkles, uneven skin, coarse pores, acne, (over) sensitivity, etc.

## Slide 32
As you may have read, this is the future in the aesthetic world / beauty business.
Superboost bio neurofeedback technology rebuilds facial muscles. These become thinner and cramped with age, causing the skin to sag.
In fact, the skin is closely connected to the muscles and nerves. So we can create a nice volume in the face but also a lifting through the bio neurofeedback technique.
Less wrinkles, a thicker dermis and an even skin structure and color are just some of the benefits of biofeedback. The skin regains its balance.
Explanation: Look at an arm that is in a cast, the arm in the cast (atrophic muscles) is a lot thinner than the arm without a cast (active muscles).
Or compare a person who goes to the gym weekly to someone who skips the gym. Not only are the muscles fuller and more lifted but also the skin is tighter!
Experiences during treatment:
You may experience slight tingling, light flashes around the eyes, a buyer's taste in the mouth, when we work at the balance organ you will feel a slight dizziness locally and during muscle stimulation you will feel the muscles make contractions (sometimes up to overhead).

## Slide 33
A network of nerve pathways connects our brain to our organs. That network carries information from the central nervous system to cells, while ensuring feedback from those cells back to the brain. Along countless nerve fibers, there is a constant flow of information and feedback. It is precisely from that network that our skin gets its soundness.
Even the best leather sofas never last longer in intensive use than our skin, which easily keeps its quasi original shape for a hundred years despite weather, sun, wind and mechanical friction.
Yes, there is wear, but tears and cracks are repaired.
The skin adapts color and suppleness to conditions. Even pieces of transplanted skin take their place without problem.
How is all this possible? The secret lies in biofeedback.
Organizations that are led from the top and ignore feedback from the forces on the ground eventually lose control and disappear.
In organizations without central vision and leadership, satisfying individual needs starts to dominate, resulting in chaos.

## Slide 34
Structures that are constantly interconnected survive better than hierarchy in which one-way traffic is the norm. The human body shows perfectly how to do it, with constant feedback between the brain (the central administration) and the cells and organs (the forces at work).
Unfortunately, that exchange of information weakens with age, or it is interrupted by disease. This compromises the integrity of our body. It is as if our aging body, like our cell phone, has a "battery saver mode" and goes into savings mode. It is crucial to our health to restore the connection between the central nervous system and individual cells.
To accomplish that, we turn to the technique of biofeedback.
Especially after brain infarcts or with spastic muscle twitching, it already delivered results. Top athletes use biofeedback to gain more control over their breathing and heart rate, thus boosting their performance. We can also use the technique against skin aging.
Some connections weaken faster than others, and our skin has the misfortune to disconnect from the nervous system sooner than the heart and kidneys. This makes repair necessary.
The technique is completely painless and produces visible results after only three half-hour sessions.
When we restore and optimize the biofeedback between brain and skin, the skin comes back under the control of the central nervous system and the skin sensors send their feedback back to headquarters. By renewing intense cooperation, the skin can recover better.
The disconnect between muscles and brain can also be seen on facial expression. Some facial muscles contract too weakly, others too strongly. The slack muscles we need to train and tighten to elevator the face, the cramped muscles we just want to relax with a shot of botulinum toxin.
Biofeedback restores the communication of facial muscles with the brain, creating balance in the symphonic orchestra that is the facial mimicry of our face. Without contact with the conductor, each instrument goes its way: if conductor is not listening properly, there can be no coordination.
Given that the brain and body re-support the skin, the technique is sustainable.

## Slide 35
Biofeedback-technologie wordt al vele jaren gebruikt om patiënten en clinici te helpen tijdens revalidatie. Biofeedback-apparaten zijn machines of instrumenten die tijdens therapie worden gebruikt om een indicatie van spieractiviteit te creëren.
Biofeedback technology has been used for many years to help patients and clinicians during rehabilitation. Biofeedback devices are machines or instruments used during therapy to create an indication of muscle activity.
The BioRef-DC is a Biofeedback device intended to activate and re-educate (re-educate) nerves, muscles of the patient's body to improve tonus and reactivity, which have reduced strength due to aging trauma or disease.
Neuromuscular re-education is concerned with retraining the brain and spinal cord.
Where else applied?

## Slide 36
SUPERBOOST.CO
Results

## Slide 37
  Fine superficial lines and wrinkles/grooves will fade and/or disappear. This varies by skin type and client.
  The pigment will reduce. PLEASE NOTE: With pigmentation you can never offer a 100% guarantee, as there are 2 types of pigment. When the pigmentation is iron pigmentation, the Superboost will be of little or no use. Unfortunately, we cannot tell this in advance. Pigmentation is best addressed with good supportive home care: exfoliation, light peels and daily application of a sun serum. Advice: prescription hydroquinone cream and Sun block 100.
  We can slightly reduce dark or blue discolorations. We thicken thin skin and stimulate circulation. ALWAYS give nutritional advice!
  Couperose will become less visible as we thicken the thin skin. If the client wants the Couperose completely gone, it is best to have a laser treatment (ipl flash light).
  The pores will shrink.
  Better blood circulation.
  Beautiful and even complexion.
  Certain superficial scars diminish.
  Pimples and irritations disappear.
  Eyes and eyebrows elevator.
  Even the deeper grooves become superficial and less deep.
Anubis Care is not responsible for possible consequences of improper use of the SuperBoost Meso Strip machine and the Biofeedback BioRef mobile device.
What can the client expect from the SuperBoost treatment

## Slide 38
Dermis
Epidermis
Subcutaneous connective tissue
Hair
Nerve
Adipose tissue
Hair follicle
Sweat gland
Sweat pore

## Slide 40
SUPERBOOST.CO
SuperBoost cocktails

## Slide 42
Skin Lifting Cocktail
Treatment aimed at reducing wrinkle lines and softening expression lines.
It accelerates regeneration and restores the firmness of tissues affected by the aging process, helping to counteract sagging.
A cocktail that directly increases collagen and elastin formation and stimulates fibroblast activity.
It supports the formation of the dermal extracellular matrix. The intact ingredients prevent oxidation of the cells and restore the skin’s firmness.
Results
• Effectively combats flaccidity.
• Improves firmness and elasticity.
• Strengthens and rejuvenates.
• Restores the skin’s glow.
• Anti–free radicals.
• Visible results from the first session.
Key active ingredients: DMAE, Vitamin B5, Organic Silicon
DMAE
Antioxidant with anti-aging effects. It is known for generating a significant firming action.
Vitamin B5
On the skin, panthenol helps make the skin more supple and elastic while reducing superficial signs of aging. It penetrates the skin and is converted into pantothenic acid (Vitamin B5), which is a component of coenzyme A; this promotes energy supply to the cells and accelerates the formation of new skin cells.

## Slide 43
Methylsilanol Mannuronate
An organic derivative of seaweed that binds moisture in the epidermis, thereby firming and strengthening the skin. The additional seaweed extract found in Methylsilanol Mannuronate provides long-lasting hydration and helps combat the breakdown of collagen and elastin fibers, resulting in firmer skin.
Properties:
  Known for fighting free radicals.
  Acts as an antioxidant to actively prevent premature aging.
  In vitro studies have shown that Methylsilanol Mannuronate normalizes cellular metabolism, acts as a tissue regenerator, and helps reduce the appearance of cellulite.
  Seaweed also has detoxifying properties.
Methylsilanol Mannuronate is considered a safe ingredient for skincare products and is both organic and natural.
General Product Presentation
  Packaging: Sterile ampoules with printed Topaz
  Pack: 5 ampoules per box
  Presentation: Ampoules of 10 ml or 5 ml
  Storage conditions: Store between 2°C and 25°C.
Avoid placing the product:
  In contact with the ground
  Near moisture
  In direct sunlight
Period after opening:
Stable for 1 month when refrigerated (repeatedly tested with microbiological controls).

## Slide 44
Skin Hyaluronic Cocktail
Intensive cocktail based on hyaluronic acid. It contains a high concentration.
Very low molecular weight, ideal for hydrating the deepest layers of the epidermis.
Results
• Improves the appearance of the skin’s micro-relief
• Improves the appearance of expression lines
• Improves skin texture
• Provides hydration in the different layers of the skin
• Leaves the skin supple, hydrated, and firmer
Hyaluronic Acid 1%
Hyaluronic acid with a very low molecular weight, for treatments with meso devices or Skin Pen.
Hyaluronic acid is a synthesized mucopolysaccharide. It naturally exists in our body and is a component of many tissues and organs, such as cartilage or skin.
Its function is to maintain the optimal hydration of the tissue, thereby preventing a reduction in elasticity. It promotes the production of new collagen and elastin.
It stimulates peripheral blood circulation. Over the years, the presence of HA in the body decreases, so by the age of 50 it is estimated that about 50% of the substance has been lost.

## Slide 45
General product presentation
• Packaging: Sterile ampoules with printed Topaz
• Pack: 5 ampoules / box
• Presentation: Ampoules of 10 ml or 5 ml
• Storage conditions: Store between 2°C and 25°C.
Avoid placing the product:
• In contact with the ground
• Near moisture
• In direct sunlight
Period after opening:
Stable for 1 month when refrigerated (tested multiple times with microbiological controls).

## Slide 46
Skin Rejuvenating Cocktail
Anti-aging cocktail with a high concentration of hyaluronic acid and more than 50 active ingredients that increase cell renewal and restore the synthesis of the ECM (extracellular matrix), reversing the visible signs of skin aging and restoring elasticity. Stimulates the production of collagen and elastin and boosts cell regeneration.
Results
• Smooths wrinkles and expression lines
• Reduces surface roughness
• Tightens pores and improves skin texture
• Leaves the skin more supple and firmer
• Revitalizes and hydrates the skin
Key active ingredients: Hyaluronic acid, peptides, vitamins, amino acids, coenzymes, and mineral salts.
Biomimetic Peptide Copper Tripeptide-1
• Accelerates wound healing.
• Increases the keratinization of the skin.
• Reverses the effects of aging in the skin by increasing thickness, reducing wrinkles, improving skin elasticity, and boosting the production of keratinocytes and fibroblasts.
Sh-polypeptide-2
• Reduces and prevents wrinkles and expression lines by generating new cells.
• Involved in the healing, repair, and normal growth of the skin.
• Induces the formation of collagen and elastin, promoting firmness and elasticity of the skin.

## Slide 47
General Product Presentation
• Packaging: Sterile ampoules with printed Topaz
• Pack: 5 ampoules per box
• Presentation: Ampoules of 10 ml or 5 ml
• Storage conditions: Store between 2°C and 25°C.
Avoid placing the product:
• In contact with the ground
• Near moisture
• In direct sunlight
Period after opening:
Stable for 1 month when refrigerated (tested multiple times with microbiological controls).

## Slide 48
Skin Brightening Cocktail
Brightening cocktail suitable for treating overall pigmentation in the skin.
With a lightening effect. Works at the cellular level, effectively inhibiting the activity of the tyrosinase enzyme, which normalizes melanin production in the skin.
Results
• Reduces skin spots and evens out skin tone
• Antioxidant and revitalizing effect
• Skin becomes more supple, firmer, and hydrated
Key active ingredients: Azelaic acid, tranexamic acid, ascorbic acid, niacinamide.
Azelaïnezuur (systematisch chemische naam: nonaandizuur) is een verzadigd dicarbon-vetzuur. Het komt van nature voor in granen, maar wordt ook geproduceerd door de gist Malassezia furfur, die op de huid voorkomt. Wordt gebruik bijhuidaandoeningen: acne, rosacea en hyperpigmentatie (vooral melasma).
Niacinamide (vitamin B3) • Het versterkt de barrièrefunctie van de huid. • Stimuleert de productie van verzachtende stoffen van de huid. • Verbetert de hydratatie

## Slide 49
General Product Presentation
• Packaging: Sterile ampoules with printed Topaz
• Pack: 5 ampoules per box
• Presentation: Ampoules of 10 ml or 5 ml
• Storage conditions: Store between 2°C and 25°C.
Avoid placing the product:
• In contact with the ground
• Near moisture
• In direct sunlight
Period after opening:
Stable for 1 month when refrigerated (tested multiple times with microbiological controls).

## Slide 51
SUPERBOOST.CO
Instructions for use Mesostrip

## Slide 52
Connect the luer slip connector of the handpiece to the connector on the left side and the airbrush hoses to the corresponding connectors on the right side of the unit. Attach the hose holder to secure the cable connection...Secure the airbrush connector by sliding it into its socket on the right side of the device and turning until a click is heard.
•Connect the solution tube of the MS handpiece to a 20 mL syringe filled with the treatment solution. Connect a drain hose to the 300 mL container on the back of the device. Once connected, close the bottle cage latch tightly. The syringe allows the solution content and concentration to be improved.
MesoStrip device HAS TWO MODES: VACUUM ON and AERBRUSH ON.
Touch the Airbrush ON button to make it light up red and activate the modified airbrush to create a multi-dispersion air-liquid stream, where each droplet hits from a short distance of 2-3 mm from the surface of the skin, creating a sound similar to an autumn rain and having a specific neuro-relaxing anti-stress effect. In addition, the airbrush line on the skin's surface can be activated to moisturize, soothe, and cool it.
This procedure is also suitable for removing make-up before further treatments. It is intended for delicate and sensitive skin that is prone to sensitivity after aggressive procedures such as IPL, laser hair removal, or chemical peeling. It helps to distribute the solutions on the skin's surface with specific ingredients for skin detoxification, degreasing, moisturizing, drying, relaxation, coverage, protection, and more. Fill the small containers of the airbrush with the appropriate amount of preparation or lotion for airbrushes and close the cup tightly.
The device is operated by tapping the buttons in the on-screen menu. To exit this mode, you need to tap on the same button.
Using the device Mesotrip

## Slide 53
The vacuum mode is operated similarly: you can start the device by tapping VACUUM ON and exit it by tapping secondary.
5 different rotation speeds are available to change the vacuum level. With the experience gained, the user will choose the speed (rotation per minute) most suitable for the type of treatment and the client's response. Best suited for a wide range of applications is 60 - 90 RPM.
Soft skin is required, as is a lower RPM. It is recommended that the treatment be started with the same approach and not detached from the surface. When you lift the tip off the skin, you lose the vacuum you originally built up. You can slow down the movement of the tip if you want to create more vacuum in certain places. If a stronger vacuum is needed, for instance,for scalp treatment, set it to 150 rpm. You can operate the device via the distance sensor
Press the Sensor ON button to activate the device automatically. When the handpiece is less than 20 mm from the skin's surface, the infrared sensor will turn it on; if you move the handpiece more than 20 mm back from the skin's surface, the device will turn off.
Besides, the Light ON button will help you illuminate the treatment area.
Using the device Mesotrip

## Slide 54
Tiny glands under the skin produce oil (sebum) to protect the skin from the dangers of the outside world. These glands use the hair follicles in the skin as a transport pathway, allowing the oil to reach the surface of the skin (outer layer) to form a barrier that prevents bacteria or other harmful substances from entering. Sweating plays an important role in regulating human body temperature by dissipating heat energy from the surface of the skin as the water contained in sweat evaporates. Sweat counteracts the heat stress after exercise and allows us to survive in extreme climates. Hypohidrosis (also called anhidrosis) is a condition in which patients sweat poorly or not at all. During heat stress, the body temperature in these patients can rise to dangerous levels, leading to hyperthermia, heat exhaustion, heat stroke and possibly death.
Conversely, hyperhidrosis patients produce excessive sweating, which can cause various ailments and stress, from dehydration and skin infections to social embarrassment.
Human skin has two main types of sweat glands: eccrine and apocrine. In eccrine glands, the excretory duct opens at the surface of the skin, allowing the gland to secrete a water- and salt-based fluid. In contrast, the apocrine sweat gland is an appendage of the hair follicle and releases fluid through the follicle opening. In addition, apocrine sweat glands release an oily substance by peeling off cell parts as necrobiotic secretions. A third type of sweat glands, the so-called apocrine sweat gland, is said to occur in the armpits of the human body, but this has not yet been proven. In humans, the eccrine sweat glands are the only ones that are widely distributed on the surface of the body, with up to _700/cm2 in the skin of adult humans on the palms and soles of the feet. In contrast, the apocrine glands are confined to very hairy areas of the body, such as the armpits and perineum. The density of the apocrine glands is much lower than that of the eccrine glands, with _50/cm2 (or less)
Proper use of the equipment

## Slide 55
Most domestic mammals do not have eccrine glands on most of their body surface, and yet sweating is essential for many of them for thermoregulation to withstand extreme climatic conditions and stress. Horses and camels are among the best examples of working animals, whose sweat function is crucial for their survival and performance; they use apocrine secretions to dissipate heat. The mouse, as the most commonly used laboratory animal, has eccrine sweat glands exclusively in the paw pads, and its trunk skin is completely absent from sweat glands. Such animals are sensitive to extreme climatic conditions. The excretory duct of the eccrine gland is a straight canal, which distinguishes it from the branched excretory duct of the mammary gland, which is better studied. The secretory part of the eccrine gland also differs from that of the mammary gland in its distinctive, sinuous tubular structure, its narrow center (lumen) and its sweat secretion instead of milk. Apart from these differences, the overall architecture of the tissue is a classic bilayered gland, consisting of a hollow center surrounded by an inner layer of secretory (luminal) cells and an outer layer of myoepithelial cells enclosed by a basement membrane. Myoepithelial cells are rich in myofilaments and actions, suggesting that they play an important role.
Proper use of the equipment

## Slide 56
Excessive accumulation of dirt on the surface of the skin can lead to clogging of the follicles, where sebum, sweat and dead skin cells become lodged. The lack of sebum on the surface of the skin allows bacteria to penetrate the follicle and cause inflammation. The end result is acne-like, like most soft tissue disorders.
The MesoStrip™ is a new wearable device designed for cosmetic treatments of human skin. The device generates microjet streams of fluid to cleanse the skin surface of debris or to loosen impurities from the skin surface and its appendages. The device cleanses the surface of the skin and the skin appendages with tiny streams of liquid. The device consists of the control unit, the operating handpiece with the treatment tip, hoses that connect the solution container to the handpiece, and the vacuum system.
The fluid flow is perpendicular to the surface of the skin due to the difference between external and negative pressure inside the tip. The opening diameter of the liquid jet is about 50μ.
Adjusting the vacuum level causes a slight change in the position of the skin in relation to the nozzle openings of the tips, allowing the gentle areas of the skin or skin appendages, such as the sweat gland ducts, to be cleaned. Because the diameter of the nozzle tip is thinner than the typical pore size, the liquid jet can easily penetrate the pores. The liquid can be dispensed when the nozzles are docked to the skin and are opposite the pores. When the nozzles are positioned opposite the pores, more solutions are introduced over a longer period of time. The solution is only added when the tip is fitted to the skin to create a negative pressure inside.
Due to the small size of the treatment area (inside the tip) and the effective suction of the used solution with the secreted cells of the skin, the treated area remains dry.
Proper use of the equipment

## Slide 57
The MesoStrip™ handpiece is designed for comfortable handling and manipulation. To treat, simply hold the handpiece perpendicular to the skin and begin its displacement like a brush. Start the machine first, and then after the solution flows, the star moves it along the skin. Only after finishing the stroke do you change direction and create the next stroke by enclosing the previous one with a distance of 2-3 mm. There are no other special handling instructions. The excess liquids are sucked out through the waste hose of the handpiece and collected in the waste container: no mess, no aerosol vapour. The solution reaches the tip only after it has docked to the surface of the skin. Don't forget to press FINISH after the procedure or its phase. If you are working in automatic mode, turn the Sensor push button OFF
Save your device!
Proper use of the equipment

## Slide 58
  Always hold the tip perpendicular to the skin and apply little to no pressure during the treatment.
  Properly stretch the skin to achieve optimal results and prevent discomfort.
  Work loosely from the wrist for smooth and controlled movements.
  Key areas — those requiring extra attention — may be treated multiple times, provided the skin allows it.
  For mature skin: avoid using long strokes. Higher suction may cause bruising.
  If desired, the light on the handpiece can be turned on for better visibility during treatment.
  Adjusting the level is only possible after pressing the stop button first.
  If no fluid comes out of the tip, consult the SOS page for quick solutions:
  Link: www.superboost.be/help#password-form
  Password: SBhelp1234!
Important Instructions for Treatment

## Slide 59
  Client Reception and Treatment Protocol
  Receive the client
  Review the medical file, questionnaire, dossier, and treatment plan.
  Cleanse the skin.
  Take a “before” photo.
  Clearly explain each step to the client, including what you are doing, why, and what sensations they may experience.
  Make the client comfortable for the treatment.
  SuperBoost Step 1 & 2
  When performing Step 1 and Step 2, start with the infusion in the neck and then place the electrode with a rolled compress cloth in the neck before having the client lie down.
  This ensures proper contact with the nerve endings (conduction) and guarantees the electrode has perfect contact with the skin. Poor electrode contact results in little or no effect from the treatment.
  Face Preparation
  Cleanse the face and, if the skin allows, apply a very gentle peeling beforehand.
  Work the entire face/area in one pass, paying extra attention to “problem” zones. For problem areas, you may repeat the pass 2–3 times, adjusting for skin type.
  Use slow movements and properly stretch the skin.
  Important: Always work under the eyes from the inner to the outer corner (draining direction).
  Customized Cocktail Application
  Use different cocktails in one treatment to address multiple concerns.
  Example:
  Client is concerned about fine lines around the eyes, a pigmentation spot on the cheeks, and a pigmentation spot on the chin.
  Step 1: Apply the Skin Rejuvenating Cocktail mixed with 1 ml Skin Hyaluronic Cocktail over the entire face.
  Step 2: Apply extra locally around the eyes with Skin Lifting Cocktail combined with 1 ml Skin Hyaluronic Cocktail.
  Step 3: Switch to Skin Brightening Cocktail and apply locally on pigmentation spots.
  Post-Treatment
  Always take an “after” photo.
  Apply an appropriate concentrate + serum + day cream + sun serum.
  Optionally, take another “after” photo.
  Discuss aftercare and schedule the follow-up appointment.
  Aftercare Instructions
  For 5 days, avoid: peelings, scrubs, strong vitamin A creams, or retinol products.
  Protect the skin well from the sun.
  Always ask for permission to use before-and-after photos on social media, as this is the most effective proof-based promotion.
Mesostrip Superboost step 1

## Slide 60
SUPERBOOST.CO
Reactions after the SuperBoost

## Slide 61
  Because of the cold: we remove our own layer of fat (sebum) from the skin, which is our protective layer against the cold. We should especially in the winter period, after the Superboost for about 3 days, protect the skin well with a proper day/night cream and soothing serums. The advice not to take a long walk in the cold after a SuperBoost.
  In spring/summer/autumn: apply extra good sun serum!
  At least 5 days after the Superboost treatment do not: exfoliate, peel, ablative treatments or use or apply strong vitamin A creams. Do not use tonics with alcohol or products containing vitamin A or C. So also no retinol!!! The skin must be given time to recover.
  Scratches? Possibly Cetaflex (pharmacist) or before the treatment arnica pills.
  During the winter months, always provide a sample of a soothing serum and sunscreen.
Repeat treatment: at least 4 to 6 times with an interval of 2-4 weeks, then repeat once every 3-4 months. To be determined by skin type.
Home Care

## Slide 62
Device Cleaning Instructions
After each treatment, clean the device using the “washing” program.
It is VERY important to clean the device after every client!
If you are performing an acne or hair treatment, you may, if necessary, run the “washing” program and an additional “drying” program.
Cleaning the Mesostrip (after each treatment):
  Take a 20 ml syringe and fill it with 20 ml demineralized water.
  Connect the syringe to the handpiece.
  Go to the device menu, click WASH, and set the pump to the highest suction power.
  Place your finger over the handpiece where the tip normally goes. Wait until all 20 ml of water has been fully drawn in, then place your finger a few more times to increase the pressure.
  Place the handpiece back in its holder. You will see the water flow through the transparent tube at the back of the device into the waste container.
End-of-Day or Multiple Clients:
  Run both the “washing” and “drying” programs.
Drying Program:
  Run the drying program after the washing program. This dries the device tubes and simultaneously blows out the hoses.
  Set the suction to the highest level and click DRYING.
  Place your finger on the handpiece (where the tip normally goes) several times for a few seconds, and also on the transparent tube connected to the handpiece (where the syringe normally goes).
  Wait until the drying program is complete.
Washing - Drying program

## Slide 63
SUPERBOOST.CO
Bioref Device User Manual

## Slide 64
On the right side of the device, the Bio-Ref-DC Holder is installed. This device uses liquids infused in the skin appendages, such as an electrolytic conductor, to affect the muscles in the problematic periorbital area and other areas and restore positive and negative biofeedback neurove systems. Two sockets on the BioRef back side are installed – the biggest for charging its batteries and a smaller one for the body cable connection. The BioRef-DC holder serves as a charger for connecting through the plug by docking to the BioRef socket. (Upper one).
Be sure that the connection was made. Upon successfully docking, the motion of the device will be limited. Further (See instructions for BioRef) .
How the device works
Using the device

## Slide 66
SUPERBOOST.CO
Modus Bioref Device

## Slide 67
Step 2.
RED and GREEN alternating = ' ALTERNATE mode' + / -.
  Biofeedback, muscle training
  Full face
  Remain at the start and end point (muscle attachments) for 3 seconds
  At least 3 passages and on the 'problem' zones several passages
Step 1.
RED = 'PLUS mode' +
  Apply with strokes
  Full face
  2 passages
  Serves as preparation for 'Alternate mode'
Modus Bioref Device

## Slide 70
SUPERBOOST.CO
Muscle relaxants and SuperBoost

## Slide 71
A muscle relaxant (botox) needs three weeks to build a wall between the muscle and the nerve that transmits the stimuli to the muscle. So if we start the Superboost earlier than three weeks, the botox will not work fully or at all.
If the client undergoes SuperBoost treatment first and then has a shot of botox placed, there is no harm.
Muscle Relaxant (botox)
Bio Neurofeedback
Why no muscle relaxant when using Bioref Device

## Slide 72
SUPERBOOST.CO
Important details

## Slide 73
Important details
What the Client May Experience During Treatment
  A metallic/copper taste in the mouth can be a sign of good connection. Some clients may experience this during the treatment. If it feels unpleasant, having a mint or small chocolate can help.
  When working near the balance organ, clients may feel slight dizziness. This is completely normal and actually a healthy response.
  When working near the eyes, clients may see brief light flashes. This is why SuperBoost is not applied to clients with epilepsy.
  During the treatment, clients may feel light tingling sensations on the face and tapping movements in the neck where the electrode is placed.
All of these sensations are completely normal and healthy! The SuperBoost treatment is solely healing and improving.

## Slide 74
  Guidelines for Client Communication and BioRef Pen Treatment
  Always explain each step and zone before performing it, so the client is not startled. The BioRef pen can sometimes feel intense, which varies per person.
  If the client finds the sensations unpleasant, the treatment can be performed at a gentler level without reducing effectiveness. A treatment should never be painful or strongly uncomfortable.
  Always ask the client which zones are important beforehand. For example, if the client is concerned about the eye area, instead of 3 passes, you may perform 6 or 8 passes around the eyes.
  Everyone becomes accustomed to their face. After a few days, clients are used to the results they’ve achieved. That’s why it is so important to show the “before” photos, so they can see the starting point.
  BioNeuro-feedback should be performed at least 4 times. Clients can only expect results after 4, sometimes 6, treatments.
  The 4 treatments are repeated every 2 to 4 weeks. If the client wants faster results, treatments can be done every 2 weeks, which is even better.
  After this treatment series, clients should ideally return during seasonal changes for maintenance treatments, or for special occasions. There must be at least 2 weeks between each SuperBoost/Bio-feedback treatment.
  The BioRef pen is effective only after working on the skin with the Mesostrip, as the fluid introduced into the pores ensures proper conduction.
  It is very important to work slowly and effectively on the muscles, following their direction. At all attachment points, pause for at least 3 seconds.
  The glabella (frown lines) and the middle of the nose (“bunny lines”) may be slightly more sensitive. When working on the left side of the face, it may feel more sensitive because it is the side of the heart—the more perceptive side.

## Slide 75
SUPERBOOST.CO
Quotes

## Slide 76
Superboost
Superboost
#Getyourfaceinshape
is like going to the gym."
"
The result you get from going to the gym cannot be compared to the result of liposuction. This is the same with the Superboost. It is not comparable to a Facelift or a Botox treatment. The Superboost is a non-invasive treatment with naturally stunning results.
" Give your face the ultimate workout. Through the ." ."
#getyourfaceinshape
#Superboost
#superboost
#Superboostexpert
#superboostexpert
#Superbooster
#superbooster

## Slide 77
SUBSCRIBE
FOLLOW US ON SOCIAL MEDIA
@SUPERBOOST_UK

## Slide 78
SUPERBOOST.CO
FAQ

## Slide 79
FAQ
  Why do we get a metallic/copper taste?
  This taste occurs when there is a good connection during electrostimulation/biofeedback.
  What does the dirt coming from the skin consist of?
  Dead skin cells, makeup residues, and toxins.
  Can a metal wire in the mouth cause harm?
  No, this is not a contraindication.
  Men with a beard – should it be shaved?
  A beard is not a problem. Try to work in the direction of hair growth. Work in small sections and avoid zigzag movements.
  Acne treatment series
  Every 2 weeks, a treatment — minimum 4 treatments — continue until acne is under control.
  Botox and fillers
  Leave 3 weeks between SuperBoost, fillers, and Botox treatments.
  Should muscle contraction be visible during treatment?
  No, some clients have no visible contraction or it may not be visible due to thicker skin.
  How to know if the BioRef pen is working without visible contraction?
  If the client experiences a copper/metal taste and light tingling/burning sensations.
  SuperBoost acne treatment – can the skin be drained?
  Perform SuperBoost Step 1 first, then drain the skin if necessary.
  Recommended Prices per Treatment:
  SuperBoost Acne: €80 – €85
  SuperBoost Full Face or Neck: €150 – €230
  SuperBoost Step 1 with SuperBoost Cocktails: €100
  SuperBoost Hands or Décolleté: €100
In case of doubt: Contact Anubis Care.